# Information and

# Communication Technology

DISASTER RECOVERY PLAN FOR

IDENTIFIED SERVERS

ON

TSHWANE UNIVERSITY

OF TECHNOLOGY SITES

Version 1.1

| Table of Contents |  |  |  |
| --- | --- | --- | --- |
| Scope of Plan Introduction and scope When to use this procedure Plan Structure Plan Strategy Call Out Authority Major Assumptions Limitations Plan Testing and Distribution |  |  |  |
| Recovery Procedures |  |  |  |
| Call Out Initiated |  | ICT Representative or Campus Control |  |
| ICT Call Declared as a Disaster |  | ICT Director |  |
| Call a Recovery Management Team Meeting |  | ICT Director (Team Leader) |  |
| Acquire Financial Authorization |  | ICT Director (Team Leader) |  |
| Compile an Action Plan |  | Recovery Management Team |  |
| Put Support Agencies on Alert |  | Recovery Management Team |  |
| Notify TUT Users |  | Recovery Management Team |  |
| Prepare a Command Center and assign a Command Center Leader |  | Recovery Management Team |  |
| Put Recovery Services on Alert |  | Recovery Management Team |  |
| Do Damage Assessment |  | Recovery Services |  |
| Update the Action Plan |  | Recovery Management Team |  |
| Established Command Center takes Control: Follow Updated Action Plan |  | Command Center |  |
| Do Recovery |  | Recovery Services |  |
| Make use of own skills and work instructions |  | Recovery Services |  |
| Make use of external services: Insurance, skills and equipment |  | External Recovery Services |  |
| Progress Update to Command Center |  | Recovery Services |  |
| Progress Update to TUT Users |  | Command Center |  |
| Recovery Test result |  | Recovery Services |  |
| Notify Command Center |  | Recovery Services |  |
| Notify TUT Users |  | Command Center |  |
| Review Recovery Procedure |  | ICT Director call a meeting |  |
| These lists are all subject to changes |  |  |  |
| Annexure | Page |  |  |
| Annexure A | 10 |  | Recovery Management Team |
| Annexure B | 11 |  | ICT Policies |
| Annexure C | 12 |  | External Recovery Services |
| Annexure D | 14 |  | User Information Management Departmental ITS System Managers ITS Users |
| Annexure E | 19 |  | Command Center |
| Annexure F | 21 |  | Service Desk |
| Annexure G | 22 |  | TUT Recovery Services |
| Annexure H | 23 |  | Plan Distribution List |
| Annexure I | 24 |  | Damage Assessment Form |
| Annexure J | 25 |  | Identified Servers - Insurance Covered |
| Annexure K | 26 |  | Recovery Review Form |
| Annexure L 1 | 28 |  | Backup Plan Procedures |
| Annexure L 2 | 30 |  | DR Procedures |
| Annexure L 3 | 32 |  | Systems Recovery Procedures ITS Library Innopac Library Web TMS FAB |
| Annexure L 4 | 33 |  | Storage Area Network Recovery Procedures |
| Annexure L 5 | 34 |  | Work Instructions AD Exchange ISA ITS Production Oracle Database Recovering data on a Windows server |
| Annexure M | 39 |  | The services provided with minimum requirements |
| Annexure N | 40 |  | LAN Layout |
| Annexure O | 41 |  | TENET Layout |
| Annexure P | 42 |  | WAN Layout |

Introduction and Scope

ICT management as a priority has identified the continuation of critical processing activities.

This Disaster Recovery Plan document has been prepared, in order to ensure minimum disruption, to provide flexibility of response and to provide guidance on which steps to take to recover from any incident regarding server loss, which may result in the normal processes being unable to be performed, or normal facilities being unavailable.

These procedures outline the activities necessary to invoke the recovery plan and use the recovery services which have been arranged by ICT Management to cover such eventualities.

This is an outline guide to the steps to be taken in the event of an incident impacting the IT division's ability to operate normally or to provide the standard level of service to users.

Detailed actions must be decided upon at the time of the incident, and will be dependent upon its nature and impact on the processing priorities at that point.

The timescales of recovery decisions / actions will also be highly dependent upon the nature of the incident, its potential or actual impact upon processing operations and the priorities at the time.

When to use this procedure

Loss of any server: A replacement machine will be requested and recovered in the relevant computer room or Loss of a site (a site can be a campus, building, floor, laboratory, room etc.): Critical systems will be recovered alternatively, negotiations will commence for wide area network recovery if necessary.

These procedures are intended for use when there is an incident which has an effect on Identified Servers - Insurance Covered  (Annexure J), when any computer systems are unavailable, for whatever reason, and there is a possibility that critical processing cannot be carried out within the required timescales.

The Recovery Management Team (Annexure A), led by the Team Leader (Annexure A), will evaluate the situation, and following assessment of the potential impact of the incident on the critical processing schedules, will decide whether to activate the Plan.

Following activation, the Security Officer (Annexure A) will use their task lists in this plan to ensure that the most effective means of recovery from the incident is achieved.  Response and recovery activities are dependent upon the nature and scope of the incident, and the business priorities applicable at the time.

Plan Structure

Recovery activities are based on one small effective team, working together, of which each person has specific areas of responsibility.  This plan is guided by the Key issues in the Institutional Technological Plan (ITP) and ICT Policies (See Annexure B).

Disaster Recovery Strategy

In the event that any number of server’s breakdown or are not able to perform as required, but the network infrastructure is still functional, suppliers will be requested to supply alternative servers.

In the event of one of the computer rooms no longer being able to support ICT processing requirement for whatever reason, the services will be transferred to an alternative room.  If possible, equipment from the failing computer room will be transported to the other room; else equipment will be sourced from the DR Services Supplier (Annexure C).  The network will be switched to run from the alternative room.

Duration of servers down will be depending on the nature of the incident.

Backups of all critical data are stored in the departmental safe; if possible these backups will be used to restore the systems.  Outsourced Backup Services (Annexure C) will also be contacted to deliver the weekly full data backups.

Call Out Authority

The decision to activate the Recovery Procedures may only be taken by the Recovery Management Team Leader or in his absence his deputy, when an incident threatens to impact processing of applications supporting critical business functions and authorized to make decisions and to take actions necessary to enable the recovery of facilities and/or services and to initiate actions to recover or repair ICT facilities, as required.

Major Assumptions

The successful operation of this procedure is based upon the following basic assumptions:

Critical ICT data is regularly and correctly backed up and transported to an approved off-site location. These back-ups are stored securely, and are readily available for use when required. Procedures for contacting personnel are maintained up-to-date.

All departments securely retain any source documentation for data input until it is confirmed that the relevant data files have been successfully backed up.  In the event of an incident requiring re-entry of data input since the last back-up, this source documentation will be needed.

The response and involvement of External Recovery Services (Annexure C), is as contracted or requested.

Departments have procedures in place, to function manually until ICT and other facilities are made available for their processes, for the processing of these applications on recovery hardware / system(s) which may be limited by comparison with "normal" operations.

User departments maintain copies of critical documentation (e.g. operational procedures / instructions).

The services provided by ICT (Annexure M) will only be recoverable if the minimum requirements in (Annexure M) are available.

Limitations

This document does not include detailed operating work instructions for business processes or ICT applications.

It is not the responsibility of ICT to ensure that (latest) copies of non- ICT documentation is identified, maintained up-to-date, nor held off-site.

These procedures are designed to assist the Recovery Management Team in restoring critical operations within 24 hours after a disaster has been declared.

In particular this plan does not attempt to cater in detail for the simultaneous loss of various sites.

Plan Testing and Distribution

The recovery procedures should be tested twice a calendar year; it is the responsibility of the Security Officer to arrange the testing.

All testing activities must be planned and documented in advance, with approved objectives. The nature and scope of involvement of any third parties in testing should be agreed on at the planning stage. Following completion of test activities, a summary of the results must be presented to Management for approval.

It is the responsibility of the Security Officer with the assistance of Director Networks to update the ICT Disaster Recovery Plan, subsequent to significant approved changes, and to distribute it twice a year to the necessary parties who will sign for a copy of their plan: See Annexure H.

Recovery Procedures:

Call Out Initiated

Officer in Charge: ICT Representative or Campus Control

Campus Control will notify an ICT representative who will log a call at the help desk or an ICT representative will identify incident and log a call at help desk. The normal escalation procedures will be followed.

Call a Recovery Management Team Meeting

Officer in Charge: ICT Director or Deputy

As soon as it becomes clear that the incident could result in a significant disruption to ICT, the Recovery Management Team (Annexure A) should be contacted by the ICT Director, and requested to meet. A team coordinator must be assigned.

Acquire Financial Authorization

Officer in Charge: ICT Director or Deputy

Acquire necessary financial authorization from the Financial Department.

Compile an Action Plan

Officer in Charge:  Recovery Management Team Leader (Annexure A)

Compile an Action Plan.

Put External Recovery Services on Alert

Officer in Charge:  Recovery Management Team Leader (Annexure A)

The appropriate support agencies should be contacted once authorization is received from the Recovery Team Leader to initiate call out of engineers and/or other support personnel as may be required.  Individual members of the Recovery Management Team (Annexure A) are responsible for calling the appropriate vendors.  Refer to Suppliers and Services (See Annexure C) for details.

Notify TUT Users

Officer in Charge: Infrastructure and Communication Support Leader (Annexure A)

The Security Officer must notify TUT users: Management, ITS System managers, ITS Users, Departmental Contacts (Annexure D) including Corporate Relations and Service Desk (Annexure F).

Prepare a Command Center and assign a Command Center Leader

Officer in Charge:  Recovery management Team Leader (Annexure A)

Prepare a Command Center (Annexure E). Assign a command Center Leader.

Put TUT Support Services on Alert

Officer in Charge: Security Officer (Annexure A)

Put TUT Recovery Services on alert (Annexure G).

Do Damage Assessment

## Officer in Charge:  TUT Recovery Services Networks, Systems and Communication Leader (Annexure G)

It is the responsibility of Recovery Services (Annexure G) to complete a damage assessment form (Annexure I) on: ITS system and ITS record damage (data loss), E-mail system and E-mail record damage (data loss), Server loss, Site loss, Network and Communication (Annexure N, O and P) loss. Review the impact and report back to the Recovery Management Team (Annexure A).

Compile an Updated Action Plan

## Officer in Charge:  Security Officer (Annexure A)

Compile an updated action plan (Annexure A).

Established Command Center takes control.

## Officer in Charge: Command Center Leader (Annexure E)

The Command Center will take the reviewed impact report and start the recovery procedure. Recovery Services (Annexure G) will make use of their skills and work instructions (Annexure L 1 – L 5) to repair the loss, or will contact necessary agencies (Annexure C) who will give service and support. This will include arrangements with insurance. Recovery Services report back to the Command Center (Annexure E) with the progress on the recovery.  The Command Center (Annexure E) will give an update on the progress to TUT Users.

Recovery Test Result

## Officer in Charge: TUT Recovery Services (Annexure G) and Command Center Leader (Annexure E)

Recovery Services must notify the Command Center (Annexure E) of the recovery test results and the Command Center (Annexure E) must notify TUT Users (Annexure D).

Review Recovery Procedure

ICT Director requests the Recovery Management Team (Annexure A), the Command Center and TUT Recovery Services to do completions of a Recovery Review form (Annexure K).

The ICT Director will initiate a DRP Update process if needed.

Annexure A

Recovery Management Team Members

| Responsible Person | Deputy |
| --- | --- |
| Recovery Management Team Leader Interim Director Mr. Kabelo Bokala | Head Mr Trevor Rowe |
| Security Officer | Mr Sundaram Chatty |
| Team Members |  |
| Infrastructure and Communication Support Leader: Mr. Jan Niezen | Systems Support Mr. Edmund Bartlett |
| Systems Support: Mr. Edmund Bartlett | Systems Support: Mr. Renier Brits |
| Network Support Mr. Gerhard van Niekerk | Network Support: Ms. Precious Mabelane |
| Cabling Support Mr. Stephan Rakgoale | Cabling Support: Mr. Raymond de Villiers |
| Communication Support: Mr. Jan Niezen | Communication Support: Ms. Linda van der Meijde |
| Finance: Rudi Stander |  |
| Corporate Relations: Gert Schoeman |  |

Annexure B

ICT Policies

Passwords

System/Administrative passwords are only known to the relevant system administrator during normal operational activities. A written copy is placed within a sealed envelope which is signed by the section head and system administrator. This envelope is then kept in safe custody by the Head of ICT.

Proposed and Adopted at the Change Control Committee

Current Location: Safe at ICT

Backup Policy

As part of its function within TUT, ICT, is tasked with the responsibility for ensuring that all information stored on Servers and Storage devices hosted by ICT is backed up and available to be restored when required. Critical data is currently mirrored, backed up to disk and then to tape, which is stored offsite

Annexure C

External Recovery Services

| Insurance Contact Person Mr. Rudi Stander TUT Treasury | X 5058 |
| --- | --- |

| Name, Company & Status | Work Details | Home Details | Description | Notes |
| --- | --- | --- | --- | --- |
| Eclipse Networks Rudie Raath Status: SLA regarding Microsoft Services and LAN equipment | 012 661 2355 | 0833109594 |  | Unit 4a Eco Fusion Office Estate Highveld Techno Park Centurion |
| Anthon Von Den Hoven | 012 661 2355 | 382-5592 (on-site) 8395 |  |  |
| Adele Nieman | 012 661 2355 | 082 330 4776 |  |  |
| ## IBM Technical Centre Company: IBM Status: Contracted | Main: 011-3029111 Direct Line: 0800110 756 |  | IBM RS6000 (6M2) |  |
| ## Mr Victor Nethononda Company: Matsema Status: External 24-hour standby | Direct Line: 012-331 0600 |  | NEC Servers EMC SAN |  |
| ## Metrofile Pager Company: Metrofile Status: External 24-hour standby | Direct Line: 011-8042777 Pager: 702118 |  | Off-site storage of data backups |  |
| Mr. Izak Bezuidenhout Company: CEB Backup (Pty) Ltd Status: External 24-hour Standby | 1 Centex Close Eastgate Sandton Main: 011-8852500 Mobile: 0833054993 | 012-6536337 | Backup IBM RS6000 |  |
| ## Mr. Hennie Botha Company: CEB Backup (Pty) Ltd Status: External 24-hour Standby | 1 Centex Close Eastgate Sandton Main: 011-8852500 Mobile: 0833054986 |  | Backup IBM RS6000 |  |
| ## Mr. Johan Bothma Company: First Technology Status: External 24-Hour Standby | Direct Line: 012-3473026 |  |  |  |
| ## Mr. Antony Friend Company: Metrofile Status: External 24-hour standby | Main: 011-6773130 Mobile: 0833268075 |  | Off-site storage of data backups |  |
| ## Mr. Neville Gordon Company: CEB Backup (Pty) Ltd Status: External 24-hour Standby | 1 Centex Close Eastgate Sandton Main: 011-4440245 | 011-8835191 | Backup IBM RS6000 |  |
| ## Mr. Stuart Love Company: CEB Backup (Pty) Ltd Status: External 24-hour Standby | 1 Centex Close Eastgate Sandton Main: 011-4440245 Mobile: 0827713171 | 011-8844368 | Backup IBM RS6000 |  |

Annexure D

User Information

Departmental Heads Contact Lists

| # CONTACT LIST OF FACULTIES, DEPARTMENTS AND BURO’s |  |  |  |
| --- | --- | --- | --- |
| ## DIVISION | CONTACT PERSON | TEL EXT. | FAX. NO |
| Rectorate | Prof E Tyobeka | 4113 | 5422 |
| Foundation | Mr. D Marupen | 5346 | 5369 |
| Telematic Education | Dr. HJ van der Merwe | 5044 | 5108 |
| ## FACULTIES |  |  |  |
| ## Science | Prof. Peter Marias | 6208 | 6210 |
| ## Arts | Dr HM Sirayi | 6132 | 6178 |
| ## Economics and Finance | Prof Mario Scerri | 0530 | 0812 |
| ## Faculty of Engineering and the Built Environment | Prof. F Otieno | 5120 | 4108 |
| ## Information & Communication Technology | Dr. J J Zaaiman | 9689 | 9146 |
| ## Management Science | Dr S Swanepoel | 5580 | 4109 |
| ## Humanities | Dr S Mukhola | 9240 | 0975 |
| ## DEPARTMENTS |  |  |  |
| ## Academic Administration | Mr. NJ vd M Stoffberg | 5180 | 5181 |
| ## Residences | Mr. M Rabie | 5516 | 5882 |
| ## Buildings and Estates | Mr. P Engelbrecht | 4501 | 4505 |
| ## Corporate Relations | Mr . Gert Schoeman | 5542/3 | 5343 |
| ## Finances | Dr. D Tromp | 5055 | 4420 |
| ## Human Resources | Ms Vicky Tlhabanelo | 4795 | 4296 |
| ## Library Services | Ms. Vivian Agyei | 0676 |  |
| ## Logistical Services | Mr. GJ Labuschagne | 5466 | 5459 |
| ## Personnel Development | Dr. M le Grange | 5431 | 5793 |
| ## Quality Promotion | Mr D Naidoo | 5646 | 5218 |
| ## Strategic Information and Planning | Dr E L van Staden | 4904 | 5325 |
| ## BUREAU’S |  |  |  |
| ## Student Affairs | Dr M R Laka-Mathebula | 4789 | 4790 |

| ITS SYSTEM MANAGER MATRIX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (Updated: August 2006) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SYSTEM MANAGER |  | CONTACT DETAILS |  |  |  |  |  |  |  |  |  |  |  |  |
| System/Proces | System Manager | Primar/ Secon | Exten | Fax | Staff No | Office No | E-Mail |  |  |  |  |  |  |  |
| Academic Administration Access | Leandra Godefroy | Primary | x4221 | x5950 | 504920 | 21 - G 161 | godefroyl@tut.ac.za |  |  |  |  |  |  |  |
|  | Precilla Doman | Secondary | x5957 | x5950 | 533793 | 21 - G 155 | domanp@tut.ac.za |  |  |  |  |  |  |  |
| Academic Structure | Precilla Doman | Primary | x5957 | x5950 | 533793 | 21 - G 155 | domanp@tut.ac.za |  |  |  |  |  |  |  |
|  | Leandra Godefroy | Secondary | x4221 | x5950 | 504920 | 21 - G 161 | godefroyl@tut.ac.za |  |  |  |  |  |  |  |
| ACB System | Hennie van der Walt | Primary | x5065 | x5058 | 573019 | 21 - 171 | vanderwalthp@tut.ac.za |  |  |  |  |  |  |  |
|  | Elize Steyn | Secondary | 4405 | 5740 | 578150 | 21 - 388 | steynej@tut.ac.za |  |  |  |  |  |  |  |
| Applications | Doret Grobler | Primary | x4298/x5137 | x4119 | 513555 | 21 - 333 | groblersd@tut.ac.za |  |  |  |  |  |  |  |
|  | Kathleen van Vollenstee | Secondary | x4299 | x4119 | 580341 | 21 - G 333 | vanvollensteekm@tut.ac.za |  |  |  |  |  |  |  |
| AR System | Chrissie Blignaut | Primary | x5201/x5682 | x5947 | 506189 | 21 - G 94 | blignautmc@tut.ac.za |  |  |  |  |  |  |  |
| Asset | Kobus Odendaal | Primary | x5030 | x5027 | 301906 | 21 - 173 | odendaaljj@tut.ac.za |  |  |  |  |  |  |  |
|  | Elize de Swardt | Secondary | x4979 | x5647 | 804154 | 6 - G 14 | vaneckme@tut.ac.za |  |  |  |  |  |  |  |
| Audit | Trudie Grobbelaar | Primary | x5050 | x5057 | 102784 | 21 - 177 | grobbelaaramg@tut.ac.za |  |  |  |  |  |  |  |
| Bursaries & Loans | Roekus de Villiers | Primary | x4116 | x4153 | 532860 | B53 - 120 | devilliersjh@tut.ac.za |  |  |  |  |  |  |  |
|  | Tertia van Schalkwyk | Secondary | x5836 | x4153 | 513440 | B53 - 120 | vanschalkwyktg@tut.ac.za |  |  |  |  |  |  |  |
| Cashbook | Marina Joubert | Primary | x5500 | x5047 | 542075 | 21 - 169 | joubertm1@tut.ac.za |  |  |  |  |  |  |  |
|  | Chrissie Blignaut | Secondary | x5201/x5682 | x5947 | 506189 | 21 - G 94 | blignautmc@tut.ac.za |  |  |  |  |  |  |  |
| Collaboration Agreement Unit | Elbie Fourie | Primary | x4376 | x4460 | 304395 | 21 - LG02 | fourieej@tut.ac.za |  |  |  |  |  |  |  |
|  | Isabel Grobler | Secondary | x4375 | x4460 | 576603 | 21 - LG02 | grobleri@tut.ac.za |  |  |  |  |  |  |  |
| Counter Control | Paul Mokoena | Primary | x4662 | x5947 | 823744 | 21 - G 94 | mokoenanp@tut.ac.za |  |  |  |  |  |  |  |
| Creditor Services | Vanessa van Graan | Primary |  | x4216 | 302708 | 21 - 191 C | vangraanv@tut.ac.za |  |  |  |  |  |  |  |
|  | Louise Neethling | Secondary | x5063 | x4216 | 514780 | 21 - 191 B | neethlingl@tut.ac.za |  |  |  |  |  |  |  |
| Distance Education | Lynette Ackerman | Primary | x4701 | x5131 | 303062 | 21 - 466 | ackermanl@tut.ac.za |  |  |  |  |  |  |  |
| Examination Timetable | Rentia van Wyk | Primary | x5152 | x5904 | 102067 | 21 - LG03 | vanwykr@tut.ac.za |  |  |  |  |  |  |  |
|  | Karen Kok | Secondary | x5146 | x5904 | 573574 | 21 - LG02 | kokk@tut.ac.za |  |  |  |  |  |  |  |
| Financial Control | Petro Barnardo | Primary | x5051 | x5057 | 507857 | 21 - 160 | barnardop@tut.ac.za |  |  |  |  |  |  |  |
|  | Alida van der Walt | Secondary | x5751 | x5057 | 526100 | 21 - 162 | vanderwalta@tut.ac.za |  |  |  |  |  |  |  |
| Financial General Support Codes | Petro Barnardo | Primary | x5051 | x5057 | 507857 | 21 - 160 | barnardop@tut.ac.za |  |  |  |  |  |  |  |
|  | Alida van der Walt | Secondary | x5751 | x5057 | 526100 | 21 - 162 | vanderwalta@tut.ac.za |  |  |  |  |  |  |  |
| Graduation | Makkie Pieterse | Primary | x4404 | x4119 | 557730 | 21 - G 176 | pietersemj@tut.ac.za |  |  |  |  |  |  |  |
|  | Christa Wagner | Secondary | x5133 | x4119 | 587699 | 21 - G 136 | wagnerjc@tut.ac.za |  |  |  |  |  |  |  |
| Human Resources | Benita de Beer | Primary | x5444 | x5437 | 533351 | 21 - 361 | debeerb@tut.ac.za |  |  |  |  |  |  |  |
| Information | Amanda van der Merwe | Primary | x4142 | x5845 | 301469 | 21 - G 195 | vandermerweam@tut.ac.za |  |  |  |  |  |  |  |
| Letters | Doret Grobler | Primary | x4298 | x4119 | 513555 | 21 - 333 | groblersd@tut.ac.za |  |  |  |  |  |  |  |
|  | Michelle Bosch | Secondary | x5137 | x5134 | 525260 | 21 - 333 | boshm@tut.ac.za |  |  |  |  |  |  |  |
| Library | Ilse van der Merwe | Primary | x4235 | x5485 | 528692 | 20 - 115B | vandermerwei@tut.ac.za |  |  |  |  |  |  |  |
|  | Karina van Lochem | Secondary | x4478 | x5485 | 537349 | 20 - 115B | vanlochemkh@tut.ac.za |  |  |  |  |  |  |  |
| Management Reporting | Gielie du Toit | Primary | x5697 | x5057 | 549193 | 21 - 161 | dutoitgd@tut.ac.za |  |  |  |  |  |  |  |
| Media Bookings | Monica Prinsloo | Primary | x5973 | x4202 | 506737 | 21 - 129 | prinsloom@tut.ac.za |  |  |  |  |  |  |  |
|  | Anel Meyer | Secondary | x5453 | x4202 | 578460 | 21 - 133 | meyera@tut.ac.za |  |  |  |  |  |  |  |
| MIS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Moira van der Merwe | Secondary | x5676 | x5591 | 544108 | 20 - 136 | vandermerwemc@tut.ac.za |  |  |  |  |  |  |  |
| Procurement | Kobus Odendaal | Primary | x5030 | x5027 | 301906 | 21 - 173 | odendaaljj@tut.ac.za |  |  |  |  |  |  |  |
|  | Marinda Visser | Secondary | x5026 | x5027 | 303569 | 21 - 168 | visserm@tut.ac.za |  |  |  |  |  |  |  |
| Registration | Wally Langa | Primary | 4256 | x5134 | 575727 | 21 - 333 | langaws@tut.ac.za |  |  |  |  |  |  |  |
|  | Michelle Bosch | Secondary | 5137 | x5131 | 525260 | 21 - 333 | boshm@tut.ac.za |  |  |  |  |  |  |  |
|  | Ronnel Kloppers | Primary | 5977 | 5968 | 303666 | 44 - G 01 | kloppersrf@tut.ac.za |  |  |  |  |  |  |  |
| Residences: GLA's | Veronica Bredenkamp | Secondary | 4203 | 5968 | 514659 | 44 - G 01 | bredenkampv@tut.ac.za |  |  |  |  |  |  |  |
| Residences: Admin & SD | Judy Buys | Primary | x5992 | x5512 | 512117 | 44 - G 07 | buysjd@tut.ac.za |  |  |  |  |  |  |  |
|  | Ronnie Gouws | Secondary | 5514 | 5512 | 618608 | 44 - G 07 | gouwsr@tut.ac.za |  |  |  |  |  |  |  |
| Salaries | Hennie van der Walt | Primary | x5065 | x5740 | 573019 | 21 - 171 | vanderwalthp@tut.ac.za |  |  |  |  |  |  |  |
|  | Elize Steyn | Secondary | x4405 | x5740 | 578150 | 21 - 388 | steynej@tut.ac.za |  |  |  |  |  |  |  |
| Student DT System | Chrissie Blignaut | Primary | x5201/x5682 | x5947 | 506189 | 21 - G 94 | blignautmc@tut.ac.za |  |  |  |  |  |  |  |
| Space | Karen de Wet | Primary | x4507 | x4505 | 512745 | 1 - G 03 | dewetke@tut.ac.za |  |  |  |  |  |  |  |
| Store | Kobus Odendaal | Primary | x5030 | x5027 | 301906 | 21 - 173 | odendaaljj@tut.ac.za |  |  |  |  |  |  |  |
|  | Linda Snyman | Secondary | x4163 | x5027 | 534927 | 21 - G 167 | snymang@tut.ac.za |  |  |  |  |  |  |  |
| Student System | Precilla Doman | Primary | x5957 | x5950 | 533793 | 21 - G 155 | domanp@tut.ac.za |  |  |  |  |  |  |  |
| Study Records (Examinations) | Hilde Fabian | Primary | x5538 | x5131 | 512702 | 21 - G 27 | fabianh@tut.ac.za |  |  |  |  |  |  |  |
|  | Carin du Toit | Secondary | x5539 | x5131 | 303992 | 21 - G 25 | dutoitc@tut.ac.za |  |  |  |  |  |  |  |
| Time Tables | Monica Prinsloo | Primary | x5973 | x4202 | 506737 | 21 - 129 | prinsloom@tut.ac.za |  |  |  |  |  |  |  |
|  | Anel Meyer | Secondary | x5453 | x4202 | 578460 | 21 - 133 | meyera@tut.ac.za |  |  |  |  |  |  |  |
| Traffic Control | Franche Jansen van Rensburg | Primary | x4137 | x5459 | 202592 |  | JansenVanRensburgF@tut.ac.za |  |  |  |  |  |  |  |
|  | Rani Singh | Secondary | 4753 | x4129 | 543187 | 4 - G 49 | singhr@tut.ac.za |  |  |  |  |  |  |  |
| Vehicle Bookings | Talita Young | Primary | x5915 | x5471 | 538809 | 1 - G 02 | youngt@tut.ac.za |  |  |  |  |  |  |  |
|  | Laura dos Santos | Secondary | x6386 | x5471 | 101737 | 1 - G 02 | dossantosl@tut.ac.za |  |  |  |  |  |  |  |
| Venue Bookings | Monica Prinsloo | Primary | x5973 | x4202 | 506737 | 21 - 129 | prinsloom@tut.ac.za |  |  |  |  |  |  |  |
|  | Anel Meyer | Secondary | x5453 | x4202 | 578460 | 21 - 133 | meyera@tut.ac.za |  |  |  |  |  |  |  |
| Winter-/Summer School | John-John Mason | Primary | x4381 | x5131 | 567361 | 21 - G 179 | masonjj@tut.ac.za |  |  |  |  |  |  |  |
|  | Amanda van der Merwe | Secondary | x4142 | x5845 | 301469 | 21 - G 195 | vandermerweam@tut.ac.za |  |  |  |  |  |  |  |
| Short Courses | Branus Viljoen | Primary | x4672 | x4673 | 596205 | 21 - 333 | viljoenb@tut.ac.za |  |  |  |  |  |  |  |
| Electronic Filling System | Dorette Grobler | Primary | x4298/x5137 | x4119 | 513555 | 21 - 333 | groblersd@tut.ac.za |  |  |  |  |  |  |  |

Annexure E

Command Centre

Officer in Charge:  Command Center Leader (Annexure A)

The location to be used as a Command Center for recovery operations / activities is:

21-270, If not available or needs to be not on Pretoria Campus, the Command Center location will be decided by the Recovery Management Team.

The following must be available at the Command Center in the Battle Box:

| Telephone and Stationary |  |
| --- | --- |
| Whiteboard + Pen |  |
| These lists are all subject to changes |  |
| Annexure A | Recovery Management Team |
| Annexure B | ICT Policies |
| Annexure C | External Recovery Services |
| Annexure D | User Information Management Departmental ITS System Managers ITS Users |
| Annexure E | Command Center |
| Annexure F | Service Desk |
| Annexure G | TUT Recovery Services |
| Annexure H | Plan Distribution List |
| Annexure I | Damage Assessment Form |
| Annexure J | Identified Servers - Insurance Covered |
| Annexure K | Recovery Review Form |
| Annexure L 1 | Backup Plan Procedures |
| Annexure L 2 | DR Procedures |
| Annexure L 3 | Systems Recovery Procedures ITS Library Innopac Library Web TMS FAB |
| Annexure L 4 | Storage Area Network Recovery Procedures |
| Annexure L 5 | Work Instructions AD Exchange ISA ITS Production Oracle Database Recovering data on a Windows server |
| Annexure M | The services provided with minimum requirements |
| Annexure N | LAN Layout |
| Annexure O | TENET Layout |
| Annexure P | WAN Layout |

Annexure F

Service Desk

| Service Desk Contact Details |  |  |
| --- | --- | --- |
| Email Servicedesk@tut.ac.za of Intranet Tel 3825678 |  |  |
| Name | Mobile Number | Speed Dial |
| Piet Swanpoel (Head) | 082 884 1681 | 8209 |
| Charlotte Smit | 083 321 6135 | 8216 |
| Helga Oberholzer | 083 564 4269 | 8306 |
| Doreen Manqojane | 083 928 9992 | 8244 |
| Gerrit Malan | 076 5589 755 |  |
| Helen Lebeloe | 082 922 2013 |  |
| Abijah Makena (Contractor) | 073 2513 323 |  |

Annexure G

TUT Recovery Services

| Responsible Person | Deputy |
| --- | --- |
| Infrastructure and Communication Support Leader: Mr. Jan Niezen | Systems Support: Mr. Edmund Bartlett |
| Recovery Services Systems Team Members |  |
| Systems Support: Mr. Edmund Bartlett | Systems Support: Mr. Renier Brits |
| Recovery Services Networks |  |
| Network Support: Mr. Kobus Croukamp | Systems Support: Mr. Stephan Dique |
| Networks Support: Mr. Gerhard van Niekerk | Network Support: Me. Precious Mabelane |
| Recovery Services Communication |  |
| Cabling Support Mr. Stephan Rakgoale | Cabling Support: Mr. Raymond de Villiers |
| Communication Support: Mr. Jan Niezen | Communication Support: Me. Linda van der Meijde |

Annexure H

Distribution List

The Distribution list consists of the following: Recovery Management Team (Annexure A), External Recovery Services (Annexure C) and TUT Recovery Services (Annexure G). Each person who receives a copy of the Disaster Recovery Plan needs to sign the DRP Distribution Register.

| DRP Distribution Register |  |  |  |
| --- | --- | --- | --- |
| Version | Name and Surname | Date | Signature |
| 1.1 |  |  |  |

Annexure I

##### Damage Assessment Form

| Division Name: ICT | Contact Name: |
| --- | --- |
| Site: | Contact (Tel) No.: |
| Date: | Time: |

| Location | Description of Damage |
| --- | --- |

| Approved by: | Signature: |
| --- | --- |
| Date: |  |

Annexure J

Identified Servers - Insurance Covered

| Pretoria Campus |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Building 30 servers |  |  |  |  |  |
| Hardware type | Make and model | Serial number | Asset number | Replacement value | Server description |
| Computer Cabinet | NEC |  |  |  |  |
| Server | NEC | 802327780005 | 187590 | R 80,000.00 | LIBSERV05 |
| Server | NEC | 802418900008 | 190188 | R 80,000.00 | UNICENTER |
| Server | NEC | 802418890002 | 190167 | R 80,000.00 | UNICENTER |
| Server | NEC | 800797260003 | 178508 | R 80,000.00 | CYCAD |
| Server | NEC | 800797250004 |  | R 80,000.00 |  |
| Server | NEC | ** | ** | R 80,000.00 | YELLOWWOOD |
| Server | NEC | ** | ** | R 80,000.00 | ENTSERV01 |
| Server | NEC | ** | ** | R 80,000.00 | FEROX |
| Server | NEC | ** | ** | R 80,000.00 | PINE |
| Server | NEC | ** | ** | R 80,000.00 | WILLOW |
| Server | NEC | ** | ** | R 80,000.00 | OAK |
| Server | NEC | ** | ** | R 80,000.00 | BURCH |
| Server | NEC | ** | ** | R 80,000.00 | INGOT |
| Server |  |  |  |  | JUPITER |
| Computer Cabinet | IBM | SN68777 |  | R 40,000.00 |  |
| Server | IBM | 659A5BF | 176293 | R 600,000.00 | TUTPROD |
| Tape drive | ADIC |  | 175615 | R 350,000.00 | BACKUP LIBRARY |
| Storage Area Network | EMC | CK200024500011 | 176350 | R 3,500,000.00 | SAN SERVER |
| Server | NEC | 800797240005 |  | R 60,000.00 | Scorpio |
| Server | NEC | 800794620008 |  | R 60,000.00 | VACANT |
| Server | NEC | ** | ** | R 60,000.00 | VACANT |
| Server | NEC | ** | ** | R 60,000.00 | TAURUS |
| Server | NEC | ** | ** | R 60,000.00 | LIBRA |
| Server | IBM(6F1) | 657882A | 149960 | R 200,000.00 | GEMINI/PTECHITS |
| Server | IBM(7029) | 65281BA |  | R 250,000.00 | VIRGO/ |
| Server | CLONE | CPV023541 | 160599 | R 15,000.00 | SMS SERVER |
| Server | MECER | M10937835 |  | R 30,000.00 | TMS SERVER |
| Server | MECER | M8780391 | 165521 | R 30,000.00 | UNICENTER |
| Server | MECER | M8780384 | 165522 | R 30,000.00 | UNICENTER |
| Server | MECER | M8780387 | 165519 | R 30,000.00 | UNICENTER |
| Server | MECER | M8780394 | 165520 | R 30,000.00 | UNICENTER |
| Server | CLONE | ECHK1250124 | 144833 | R 35,000.00 | LIBRARY SERVER |
| Server | CLONE | ECHK3362192 | 173962 | R 35,000.00 | LIBRARY SERVER |
| Server | DELL | 3V5NK0J | 164377 | R 40,000.00 | LIBRARY SERVER |
| Server | DELL | N6HJN | 117830 | R 15,000.00 | DIAL-UP SERVER |
| Server | IBM | 44F74A(F50) | 107536 | R 40,000.00 | NOT USED |
| External disks | IBM | 1015911 | 115589 | R 25,000.00 | NOT USED |
| Server | CLONE |  |  |  |  |
| Server | CLONE | C0M0016629 |  | R 10,000.00 | REPLICATION SERVER |
| Server | DELL | 8XMFJ0J | 162642 | R 50,000.00 | PALM (BACK. SERVER) |
| Server | NEC |  | 188530 | R 50,000.00 | SHAREPOINT |
| Switch | CABLETRON 2200 |  | 152099 |  |  |
| Switch | CABLETRON 2200 |  |  |  |  |
| Switch | CABLETRON 2200 |  |  |  |  |
| Switch | CABLETRON SSR200 |  |  |  |  |
| Switch | ENTERASYS |  | 191312 |  |  |
| Switch | CABLETRON ERS100 |  |  |  |  |
| Hub | 3COM |  |  |  |  |
| Fibre Converter | MRV |  | 191313 |  |  |
| Fibre Converter | MRV |  | 191314 |  |  |
| Server | SUN FIRE V120 | CF23903286 |  |  | INNOPAC |
| Tape drive library | SUN | 716G2392 |  |  | TAPE DRIVE |
| Router | CISCO 1700 |  |  |  |  |
| Router | CISCO 2500 |  | 76843 |  |  |
| Router | CISCO 2500 |  | 132128 |  |  |
| Router | CISICO 1600 |  | 115154 |  |  |
| Router | CISCO 1600 |  |  |  |  |
| Server | MECER | ECHK2422648 | 165232 | R 40,000.00 | BER |
| Server | MECER | ECHK2481834 | 165235 | R 40,000.00 | SYBASE |
| Server | DELL | 6FYMK0J | 161424 | R 50,000.00 | ENTSERV02 |
| Server | MECER | ECHK3042740 | 165879 | R 40,000.00 | MIMER |
| Server | CLONE |  |  |  | TELEMATIES |
| Server | CLONE |  |  |  | TELEMATIES |
| ** SERVER SERIAL NUMBERS AND ASSET NUMBERS NOT VISIBLE. SERVERS NEED TO BE POWERED OFF TO MAKE SERIAL NUMBERS VISIBLE |  |  |  |  |  |
| GaRankuwa servers |  |  |  |  |  |
| Server | NEC | 800794650005 |  | R 60,000.00 | Cotton |
| Server | NEC | 800794650006 |  | R 60,001.00 | WOODII |
| Server | DELL | 800797200009 |  | R 70,000.00 | Inopinus |
| Soshanguve | DELL |  |  | R 60,000.00 | Cerinus |
| Server |  |  |  |  |  |
| Server | DELL |  |  | R 70,000.00 | Humilis |
| Server | DELL |  |  | R 70,000.00 | HEENANII |
| Nelspriut |  |  |  | R 60,000.00 | CYPRESS |
| Server |  |  |  |  |  |
| Server |  |  |  | R 70,000.00 | Nubimontanus |
| Polokwane |  |  |  | R 60,000.00 | POGGEI |
| Server |  |  |  |  |  |
| Server |  |  |  | R 70,000.00 | ASH |
| Witbank | NEC | 800794650005 |  | R 60,000.00 | KENNY |
| Server |  |  |  |  |  |
| Server | NEC | 800797200009 |  | R 70,000.00 | WATTLE |
| Corporate Relations |  |  |  |  |  |
| Server |  |  |  |  | Contact Centre |
| Server |  |  |  |  | Venus |
|  |  |  | TOTAL | R 7,695,001.00 |  |

Annexure K

Recovery Procedures Review Form

Recovery Procedure Review Form

| Recovery Procedures | Review Comments |
| --- | --- |
| Call a Recovery Management Team Meeting |  |
| Compile an Action Plan |  |
| Put Support Agencies on Alert |  |
| Notify TUT Users |  |
| Prepare a Command Center and assign a Command Center Leader |  |
| Put Recovery Services on Alert |  |
| Do Damage Assessment |  |
| Update the Action Plan |  |
| Do Recovery |  |
| Make use of own skills and work instructions |  |
| Make use of external services: Insurance, skills and equipment |  |
| Progress Update to Command Center |  |
| Progress Update to TUT Users |  |
| Recovery Test result |  |
| Notify Command Center |  |
| Notify TUT Users |  |

Annexure L 1

Backup Plan

|  |  | Backup | Seq. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Server | Mirrored | To Disk | To Tape | Procedures | Responsible Person | Contact Numbers | DRP/BCP/ Equipment | Risks | Recommendations |
| 1 | ITSPROD | Yes | Yes | Yes | Backup tapes are stored offsite with Metrofile | Kobus |  | None | No DRP/BCP exists. A tape restore is time consuming and guaranteed to restore 100% of the time. Extended down time affecting all TUT business processes | Log Archiving will require SAN upgrade Develop BCP |
|  |  |  |  |  | Daily Weekly tapes | Renier |  |  | Single Backup Administrator |  |
|  |  |  |  |  | Data available on Test Server | Edmund |  |  |  |  |
|  |  |  |  |  |  | Metro file |  |  |  |  |
| 2 | Ferrox | No | Yes | No | Firewall Rules Exported | Kobus |  | None | Single Backup Administrator | Test Environment |
|  |  |  |  |  |  | Gerhard |  |  |  |  |
|  |  |  |  |  |  | Otis |  |  |  |  |
| 3 | MailServer1 | No | Yes | Yes | Mail Store is Backed Up | Kobus |  | None | No Test Environment to restore to | Mail Archiving will assist in reducing data backed up as well as beige a legal requirement' |
|  |  |  |  |  | Backup kept for a week | Gerhard |  |  | Single Backup Administrator | SAN Storage will also be reduced |
|  |  |  |  |  |  | Precious |  |  |  | Test Environment |
| 4 | INGOT |  |  |  |  |  |  |  |  |  |
| 5 | LANATUS |  |  |  |  |  |  |  |  |  |
| 6 | MIMER |  |  |  |  |  |  |  |  |  |
| 7 | NATALENSIS |  |  |  |  |  |  |  |  |  |
| 8 | NTHEBET |  |  |  |  |  |  |  |  |  |
| 9 | OAK |  |  |  |  |  |  |  |  |  |
| 10 | PINE |  |  |  |  |  |  |  |  |  |
| 11 | WILLOW |  |  |  |  |  |  |  |  |  |
| 12 | YELLOWWOOD |  |  |  |  |  |  |  |  |  |
| 13 | AMO-MANAGER |  |  |  |  |  |  |  |  |  |
| 14 | GARICT02 |  |  |  |  |  |  |  |  |  |
| 15 | KNIPEJ |  |  |  |  |  |  |  |  |  |
| 16 | TMS01 | No | Yes | Yes | Partial Backup to tape (Database) | Kobus, Gajima |  | Yes (CEB Wananzi) | No DRP Exists, Testing restore end August | Test Environment |
| 17 | TNGSUS |  |  |  |  |  |  |  |  |  |
| 18 | TUTBAK01 |  |  |  |  |  |  |  |  |  |
| 19 | TYPING |  |  |  |  |  |  |  |  |  |
| 20 | IDSMANAGER |  |  |  |  |  |  |  |  |  |
| 21 | PALM |  |  |  |  |  |  |  |  |  |
| 22 | SYBASE | No | Yes | Yes | Legato Backups to tape | Edmund |  | None | Single administrator, No restore environment | Test Environment |
| 23 | TNGCCT |  |  |  |  |  |  |  |  |  |
| 24 | TNGEXCH03 |  |  |  |  |  |  |  |  |  |
| 25 | TNGSUN02 |  |  |  |  |  |  |  |  |  |
| 26 | TUTAVS02 |  |  |  |  |  |  |  |  |  |
| 27 | TUTPRNS01 |  |  |  |  |  |  |  |  |  |
| 28 | LIBSERV |  |  |  |  |  |  |  |  |  |
| 29 | LIBSERV05 |  |  |  |  |  |  |  |  |  |
| 30 | LIBSERV01 | No | Yes | Yes | Legato Backups to tape | Stephan, Library IT |  | None | No restore environment | Test Environment |
| 31 | GEMINI | No | Yes | Yes | Legato Backups to tape | Renier, Stephan |  | Yes (CEB Wananzi) | Single Backup Administrator | None |
| 32 | TUTTEST | Yes | Yes | Yes | Legato Backups to tape | Renier, Stephan |  | None | No restore environment |  |

Annexure L 2

Current DR Procedures

Backups are scheduled to run a full backup on weekends (Fridays) and incremental from Monday thru Thursday. Tapes are used on a four week cycle   . The second oldest set is sent offsite to Metrofile on Tuesdays. Tapes not in use for the current cycle is kept in a fire proof media safe in building 20.

All the systems connected to the SAN are backed up to tape using the normal schedule. All the operating systems (AIX, Linux and Windows) which do not reside on the SAN are backed up to Tape.

Recovery

If the SAN mirroring can not be used to recover, the following additional recovery methods are available

- Operating Systems

AIX backup and restore

The operating system is installed on the local hard drives and not on the SAN. For this reason we backup the AIX operating system to tape on the local tape drive.

To backup the AIX operating system on tape you need to put a tape into the local tape drive. Then you run the following command:

/scripts/mksysb.sh

This command will automatically start to run the backup to the tape.

This is done once a month.

To restore this backup and the operating system, you must set the server to boot from tape. Then you put the backup tape into the local tape drive and start the server. It will restore the operating system from the tape as it boots.

Windows backup and restore

Windows servers operating systems will be re-installed from media and the data will be recovered from tape media.

- Databases (Oracle and MS Exchange)

Oracle – Export is made on a daily basis and is then backed up to tape.(Maximum 1 day data loss and 14 hour recovery time)

A Project is in progress to enable log archiving and to create a standby database. By doing this we hope to get minimal data loss (5 minutes) and a 15 minute recovery time.

Exchange – Currently an export to disk of the exchange servers is done and can be used to recover the database by importing the database from either disk or tape. We are in the process of installing Legato Networker Exchange agents on all our mail servers. This enables you to backup an open database to tape which can be used to restore a part, or the whole exchange database

Other databases – Various other databases are backed up without using the Legato agents. These databases are exported to disk, and the export file is backed up to tape. (TMS, Sybase, Library Oracle, FAB)

On the TUT remote campuses, we currently backup the servers to disk. The backup copy is to disk on a server that is at a different location, on the same campus, than the production server. Once the TUT MAN is in place, all the campuses in the Tshwane metropolitan area will be backed up centrally to tape in building 30 of the Pretoria campus. The recovery procedure of these servers is the same as for the servers on the Pretoria campus.

Annexure L 3

System Recovery Procedure

- ITS system

  - Recovery consists of recovering the AIX UNIX operating system, the Oracle database, the Oracle web server and applications and the Oracle application server with the ITS applications.

  - Production AIX UNIX – The operating system resides on the IBM P650 servers internal disks. This is backed up once a month by writing a MKSYSB to 8mm tape.

  - Production Oracle database – The Oracle software system resides on the IBM P650 server’s internal disks. This is backed up by Legato Networker software.

- Libray Innopac Server

  - This server is maintained by III, an American company. We are making a daily backup through a menu on the Innopac system. Recovery will be done by III.

- Library Web system

  - Oracle database server

  - Oracle Application Server

  - Oracle Web server

- TMS system

  - SQL server database server. Gajima AST does the maintenance and backup to disk of the database. TUT will backup the database to tape and assist with restore process. Test to be done on 21 August 2006.

- FAB system

  - System is maintained by 3rd party and we do backups of the database.

Annexure L 4

Storage Area Network Recovery Procedure

- SAN – All systems connected to the SAN is Mirrored between building 30 (CX600) and building 3 (CX500)

- If the   SAN in building 30 goes down the servers can be rezoned to the SAN in building 3 after the mirrors have been promoted to Primaries.

- If the SAN and servers go down in building 30, you will need to install Operating systems on the temporary servers and link them to the SAN in building 3 with the correct Host Bus Adapters. The mirrors will have to be promoted to primaries and the LUNS will have to be assigned to the temporary servers.

- Snap shots are made manually of the ITS system on a daily basis. These snap shots can be rolled back to a point in time if needed, it can also be assigned to the ITS test server to refresh the data.

- Oracle – Export is made on a daily basis and is then backed up to tape. (Maximum 1 day data loss and 14 hour recovery time). A Project is in progress to enable log archiving and to create a standby database. By doing this we hope to get minimal data loss (5 minutes) and a 15 minute recovery time.

- All the operating systems (AIX, Linux, Windows and Novell) which do not reside on the SAN are backed up to Tape.

- Backups are scheduled to run a full backup on weekends (Fridays) and incremental from Monday thru Thursday. Tapes are used on a four week cycle . The second oldest set is sent offsite to Metrofile on Tuesdays. Tapes not in use for the current cycle is kept in a fire proof safe in building 20.

- If a server that is not connected to the SAN fails, the new / fixed server will have to be set up with the Operating system and the backup client. The data can then be restored to the server.

- All the systems connected to the SAN are also backed up to tape using the normal schedule.

Annexure L 5

Work Instructions for System Recovery

Assumption is that suitably qualified staff should be made available during recovery

Note due to replication a minimum of two days would be required to reach full functionality.

AD

Case 1

(All sites down – Highly unlikely)

Acquire bare bone system (At least 3)

Load Operating System – Clean install from Vendor CD’s

Restore Last System State and AD database - Restore data/media/agents to be provided by hosting team

Re-configure Services (DNS DHCP)

Re-apply patch levels

Case 2

Domain Controllers still exist

Transfer roles to existing servers

Allow new roles to replicate

Acquire bare bone system as replacement

Load Operating System – Clean install from Vendor CD’s

Join server to domain as DC

Re-configure Services (DNS DHCP)

Replicate AD and check that it is functioning (DCDIAG etc)

Re-allocate server roles

Exchange

Domain Controllers still exist

Acquire bare bone system as replacement

Load Operating System – Clean install from Vendor CD’s

Join server to domain

Load Exchange and apply patches

Restore Exchange database Restore data/media/agents to be provided by hosting team

ISA (Firewall)

Load Bare bone system OR Use appropriate sever in dual role

Join to Domain

Install ISA software and apply patches

Restore ISA data to be provided by hosting team

Restore ISA rule set

Change Modify DNS entries to match removed/faulty server

### Work Instructions for Recovery of ITS Production database server

There are 4 different ways of recovering the ITS Production Oracle Database

- Using a EMC SAN(Storage Area Network) snap shot taken with the Oracle database in shutdown mode

- Fracturing the mirror between the SAN in Building 30 and the SAN in Building 3.

- Loading the previous RMAN backup and applying the Logs.

- Import the data from an export of the Oracle database.

Snap shot

Making a snap of a LUN on the SAN

- Sign on to SAN management system (168.172.64.51,52,53,54).

- Expand SAN in building 3.

- Right click on Building 3  SAN.

- Select “snapview”.

- Select “create a new snapview session”.

- supply name for snap shot session.

- Select “consistent and persistent”

- Select LUN’s to be snapped.

- Click “OK”.

- Respond “Yes” to prompt

- Expand “snapshot”, then session on management console to verify that snap shot session is running.

Rollback of snap shot

- Sign on to SAN management system (168.172.64.51,52,53,54).

- Expand SAN in building 3.

- Expand snap shot, and then session on management console to verify that snap shot session is running.

- Make sure to detach / unmount file system from relevant server

- Right click on relevant session.

- Select rollback – make 100% sure that you want to rollback.

- Supply recovery session details.

- Start session.

Mount “snapped” file system

Sign on as ROOT

Follow the next steps:

cfgmgr  (Enter)

Gaan na /usr/lpp/Symmetrix/bin

emc_cfgmgr  (Enter)

powermt config  (Enter)

powermt display dev=all  (Enter)

hdiskpower disks is now visible

Import nuwe volume group

importvg –y (vgname) (hdiskpower name)  (Enter)

mount –o ro (filesystem name) (mount point)  (Enter)

Snapped filesystems will now be available to be mounted

Clone of production Oracle to test Oracle server

Copy the files from the mount points which the system administrator created for the copy on the test server, to the destinations indicated in this script.  Do not copy the control files, only the .dbf and .log files must be copied.

Run this script as sysdba.  This will recreate the control files and start up the database.

STARTUP NOMOUNT

CREATE CONTROLFILE SET DATABASE "TESTV13" RESETLOGS  NOARCHIVELOG

SET STANDBY TO MAXIMIZE PERFORMANCE

MAXLOGFILES 5

MAXLOGMEMBERS 3

MAXDATAFILES 100

MAXINSTANCES 1

MAXLOGHISTORY 907

LOGFILE

GROUP 1 '/prod/oradata/testv13/redo01.log'  SIZE 200M,

GROUP 2 '/prod/oradata/testv13/redo02.log'  SIZE 200M,

GROUP 3 '/prod/oradata/testv13/redo03.log'  SIZE 200M

-- STANDBY LOGFILE

DATAFILE

'/prod/oradata/testv13/system01.dbf',

'/prod/oradata/testv13/undotbs01.dbf',

'/prod/oradata/testv13/cwmlite01.dbf',

'/prod/oradata/testv13/drsys01.dbf',

'/prod/oradata/testv13/indx01.dbf',

'/prod/oradata/testv13/tools01.dbf',

'/prod/oradata/testv13/users01.dbf',

'/prod/oradata/testv13/xdb01.dbf',

'/prod/oradata/testv13/p01prt.dbf',

'/testv13/oradata/testv13/p01prt1.dbf',

'/testv13/oradata/testv13/p02prt.dbf'

CHARACTER SET WE8ISO8859P1;

ALTER DATABASE OPEN RESETLOGS;

ALTER TABLESPACE TEMP ADD TEMPFILE '/prod/oradata/testv13/temp01.dbf';

update global_name set global_name=’testv13.tut.ac.za’;

conn gen/gen

update gdmoun

set gdmdcode='/junk/testv13';

update gdaprm

set gdadcode='/junk/testv13';

update gdfque

set gdfdcode='/junk/testv13';

update gadins

set gadname=TUT - testv13',gadaltname='TUT - testv13'

where gadcode= 309;

commit;

conn system/manager

update global_name

set global_name='testv13';

commit;

Fracturing mirrors between SAN’s

- Sign on to SAN management system (168.172.64.51,52,53,54)

- Expand SAN in building 30.

- Go to Remote mirrors

- Make sure that all activity on source LUN is stopped.

- Wait approximately 2 minutes until status shows “synchronized”, not “synchronizing”

- Select mirror to be fractured, right click and select fracture

- NB ! SAN will show fault state when any mirror is fractured

- For promotion or rezoning of mirrors, contact BCX

If a multiple LUN’s are mirrored for a server,

- Expand Consistency group,

- Select relevant group and

- Right click on fracture.

Work instructions for recovering data on a Windows server

- Install Operating system on server.

- Install Legato agent for Windows on server

- Click on programs , Legato networker , Networker user

- Click on restore icon top left

- Mark data to be restored

- Click on start recover on icon

- Follow progress on the work screen

- If the tape is in the library the recovery will start

- If the required tape is not in the library there will be an alert on the server side

- Check the alert on the backup server management console

- Get the tape from the safe in building 21 / Metro file

- Put the tape in the mailbox of the library

- Go to the Devices menu in the Management Console

- Right click on one of the tape drives and select deposit

- The tape will be deposited into the library an loaded into a tape drive

- The recover will now begin

Annexure M

The services provided with minimum requirements

| The services provided by ICT will only be recoverable if the Minimum Requirements are available. |  |
| --- | --- |
| Service (Pretoria Campus) | Minimum Requirements |
| EMC SAN | Primary SAN is mirrored to the secondary SAN |
|  | Snap shots are taken of Exchange and Oracle |
|  | Tape backups are taken of all SAN LUN's |
|  | Tape backups are used in a 4 week cycle and stored offsite |
| Active Directory | AD mirrored to secondary SAN |
|  | Daily and weekly backup to tape done |
| Exchange | Daily and weekly backup to tape done |
|  | Mirroring of database to secondary SAN |
| Oracle database | RMAN backup done every night |
|  | Log archiving switched on |
|  | Daily Oracle Export of database done |
|  | Secondary ITS Server(tuttest) available for restore |
|  | Database mirrored to secondary SAN |
|  | Daily and weekly backup to tape done |
| Oracle applications | Daily and weekly backup to tape done |
| Internet | Tenet NTU’s duplication in build 3 |
| Firewall |  |
| Telkom WAN links | Duplication of NTU's in build-3 PABX |
| Internal LAN communication | Star fibers to building 3 comp room from each build |
|  | Extra core switches or blades in 6000. |
|  | Extra fiber convertors in build 3 |
| Soshanguve,Garankuwa, Arts, DF Malan, Golf Academy, Witbank, Polokwane, Nelspruit |  |
| Exchange | Daily and weekly backup to tape done. Currently backups are done to disk |
| User data | Daily and weekly backup to tape done. Currently backups are done to disk |
| ISA(Firewall) | Daily and weekly backup to tape done. Currently backups are done to disk |

Annexure N

LAN Layout

Annexure O

TENET Layout

Annexure P

WAN Layout